## Slide 1: Transport Canada
Mackenzie Valley Environmental Impact Review Board
Presentation of Technical Submission
Avalon Rare Metals Inc.
Thor Lake Rare Earth Element Project
February 2013

## Slide 2: Overview of Presentation
Summary of TC Recommendations
  Stream Crossings
  Water Intake
  Docks
  Ring Lake, Ball Lake & Buck Lake: Tailings Management Facility
  Barging
  Transportation of Dangerous Goods
Closing Remarks

## Slide 3: 1. Stream Crossings
Avalon has assessed and deemed the Fred Lake outlet stream to fall under the class of minor navigable waters established in the Minor Works and Waters (Navigable Waters Protection Act (NWPA) Order. Consequently, works conducted in minor navigable waters are exempt from the NWPA application process.
Avalon must ensure that all criteria established in the Order under each class and referenced in the Minor Works and Waters (NWPA) Order must be fully met in order for the navigable water to be considered “minor” under the provisions of the Act.

## Slide 4: 2. Water Intake
TC recommends that Avalon consult the TC Navigable Waters Protection Program pamphlets for Minor Works, Water Intakes and Temporary Works. If all the conditions outlined are met, an application(s) for approval under the NWPA will not be required for the construction of and/or the water intake on Thor Lake.

## Slide 5: 3. Docks
Avalon must submit formal applications as early as possible to TC in order to obtain approval for each specific work.
Avalon must also inform TC of any design, construction, or operational changes. TC will require final detailed design drawings for each proposed work to determine applicability of the NWPA.

## Slide 6: 4. Ring Lake, Ball Lake & Buck Lake: Tailings Management Facility (TMF)
TC has determined that Ring Lake, Ball Lake, and Buck Lake are navigable and considers the depositing of tailings into these lakes to be subject to Section 22 of the NWPA.
Section 23 of the NWPA provides that the Governor in Council, when it is shown to its satisfaction that the public interest would not be injuriously affected, may, by proclamation, declare any rivers, streams or waters in respect of which Section 22 of the NWPA applies, or any parts thereof, exempt in whole or in part from the operation of Section 22.

## Slide 7: 4. Ring Lake, Ball Lake & Buck Lake: Tailings Management Facility (TMF)
Therefore, in order to deposit tailings into Ring Lake, Ball Lake, and Buck Lake or to proceed with any undertaking that would allow the depositing of tailings, it is necessary for Avalon to first obtain a Proclamation of Exemption by the Governor in Council under Section 23 of the NWPA.
On November 13, 2012, Avalon submitted an application to Transport Canada seeking a Proclamation of Exemption under Section 23 of the NWPA.

## Slide 8: 5. Barging
Transport Canada has advised Avalon that due to the project’s location and cold weather environment in which they will be operating, they should make sure that barge(s) and all systems are designed for the anticipated ice conditions and comply with the provisions and regulations of the Canada Shipping Act, 2001.

## Slide 9: 6. Transportation of Dangerous Goods
TC recommends that Avalon consult the Transportation of Dangerous Goods Act and Regulations as they relate to the Thor Lake Rare Earth Element Project, to ensure operations comply with all applicable requirements.
Avalon and its shippers should consult the list of substances that require an Emergency Response Assistance Plan (ERAP) to determine if there are any requirements for an ERAP.

## Slide 10: Closing Remarks
The Navigation Protection Act (NPA) is the new name for the NWPA, and was granted Royal Assent on December 14, 2012.
The NPA has not yet come into force. TC is analyzing the transitional requirements and will propose a date for entry into force to Governor-in Council – likely in the Spring of 2014.
Until the NPA enters into force, TC will assess proposals in accordance with the NWPA.

## Slide 11: Closing Remarks
Transport Canada will continue to work with the MVEIRB, other federal and territorial government agencies, stakeholders and Avalon in the environmental assessment review of the Thor Lake Rare Earth Element Project.